D.  Electrical

1.

All switches and outlets are in good condition.

2.

Emergency stop switches are located throughout the room and are easily accessible.

3.

Male ends of electrical cords have their proper ground blades in place.

4.

A master control switch is in use for all equipment and tools.

Comments:  ________________________________________________________________

E.  Personal Protective Equipment

1.

Appropriate safety glasses are provided and are in good condition.

2.

Hearing protectors are available.

3.

Appropriate gas welding goggles and welding helmet are available.

4.

Proper wearing apparel is available for the job being done.

5.

Respirators are available for dusty or toxic atmospheres such as spray painting or using toxic solvents.

6.

Other students are protected from electric welding by curtains.

7.

First-aid kit is adequate and easily located.

8.

Eyewash station is clean and functioning properly.

Comments:  ________________________________________________________________

F.  WHMIS

1.

WHMIS centre is up and placed in an easily accessible location.

2.

Material safety data sheets are available for every applicable item in the facility.

3.

All applicable items as above are labelled.

4.

Students are made aware of WHMIS and its purpose.

5.

Students are tested on their WHMIS understanding.

Comments:  ________________________________________________________________

Student Safety and Health Checklist (continued)

S

U

N/A

S

U

N/A

S

U

N/A

S

U

N/A

S

U

N/A

S

U

N/A

S

U

N/A

S

U

N/A

S

U

N/A

S

U

N/A

S

U

N/A

S

U

N/A

S

U

N/A

S

U

N/A

S

U

N/A

S

U

N/A

S

U

N/A